## PPM MCKINSEY
PPM MCK 2026
SERVICE DESCRIPTION
AIR-CONDITIONING MAINTENANCE | FREQUENCY
Routine inspection of air conditioning Equipments | Weekly
Routine servicing of Server room HVAC unit | Quarterly
Routine servicing of Central HVAC system | Quarterly
ELECTRICAL SYSTEMS
Check and confirm working condition of the lighting fittings int and Ext | Weekly
Maintenance and Scanning of Electrical Distribution panels | Bi-Annually
Routine Servicing of Central UPS and Battery integrity test | Quarterly
FIRE FIGHTING AND ALARM SYSTEM
Check Fire alarm, Fm200 panel and fire equipments | Weekly
Routine servicing of fire alarm systems | Quarterly
Check all Fire estinguishers and fire balls | Weekly
Roytine Servicing of Fire estinguisher | Bi-Annually
ENVIRONMENTAL CARE / CLEANING SYTEM
Perform fumigation exercise (Internal) | Quarterly
Scheduled Deep Cleaning Exercise | Annually
LANDSCAPE MAINTENANCE
Trimming and Wetting of potted plants and overheads. | Weekly